## Configuration
Host | Name | qmed
| Time | Selasa 25 Jun 2024 02:56:45 UTC
System | Manufacturer | Intel Corporation
| Product Name | M50FCP2SBSTD
| Version | M50FCP2UR208
| Serial # | WO202498L01S001
| UUID | 0016dd22-4e93-ed11-906e-a4bf01946fee
Baseboard | Manufacturer | Intel Corporation
| Product Name | M50FCP2SBSTD
| Version | M36359-350
| Serial # | BQFX30200034
Chassis | Manufacturer | ...............................
| Type | Rack Mount Chassis
| Version | ..................
| Serial # | ..................
PCIe Slots | Designation | Type | Length | Bus Address | Current Usage
| OCP_CN1_OCP3 - OCP3.0 CONNECTOR | x16 PCI Express 5 | Long | 0000:16:00.0 | In Use
| J1 - Riser 1, slot 1 | x16 PCI Express 5 | Long | 0000:38:00.0 | In Use
| J1 - Riser 1, slot 2 | x16 PCI Express 5 | Long | 0000:ff:00.0 | Available
| J2 - Riser 2, slot 1 | x16 PCI Express 5 | Long | 0000:ff:00.0 | Available
| J2 - Riser 2, slot 2 | x16 PCI Express 5 | Long | 0000:b8:00.0 | In Use
| J32 - Riser 3, slot 1 | x8 PCI Express 5 x16 | Long | 0000:ff:00.0 | Available
| J32 - Riser 3, slot 2 | x8 PCI Express 5 x16 | Long | 0000:ff:00.0 | Available
BIOS | Vendor | Intel Corporation
| Version | SE5C741.86B.01.01.0004.2303280404
| Release Date | 03/28/2023
Operating System | OS | Ubuntu 22.04.4 LTS
| Kernel | 6.5.0-28-generic
| Boot Parameters | BOOT_IMAGE=/boot/vmlinuz-6.5.0-28-generic root=UUID=fa5dfb81-c1fc-4b3c-ad38-5771cd7b47db ro quiet splash vt.handoff=7
| Microcode | 0x2b0004d0
Software Version | GCC | gcc (Ubuntu 11.4.0-1ubuntu1~22.04) 11.4.0
| GLIBC | ldd (Ubuntu GLIBC 2.35-0ubuntu3.8) 2.35
| Binutils | GNU ld (GNU Binutils for Ubuntu) 2.38
Python
| Python3 | Python 3.10.12
Java
| OpenSSL | OpenSSL 3.0.2 15 Mar 2022 (Library: OpenSSL 3.0.2 15 Mar 2022)
CPU | CPU Model | Intel(R) Xeon(R) Gold 6430L
| Architecture | x86_64
| Microarchitecture | SPR_XCC
| Family | 6
| Model | 143
| Stepping | 7
| Base Frequency | 1.9GHz
| Maximum Frequency | 3.4GHz
| All-core Maximum Frequency | 2.6GHz
| CPUs | 128
| On-line CPU List | 0-127
| Hyperthreading | Enabled
| Cores per Socket | 32
| Sockets | 2
| NUMA Nodes | 2
| NUMA CPU List | 0-31,64-95 :: 32-63,96-127
| L1d Cache | 3 MiB (64 instances)
| L1i Cache | 2 MiB (64 instances)
| L2 Cache | 128 MiB (64 instances)
| L3 Cache | 120 MiB
| L3 per Core | 1.875 MiB
| Memory Channels | 8
| Prefetchers | L2 HW: Enabled, L2 Adj.: Enabled, DCU HW: Enabled, DCU IP: Enabled, AMP: Disabled, Homeless: Disabled, LLC: Disabled
| Intel Turbo Boost | Enabled
Virtualization
PPINs
ISA | Name | Full Name | CPU Support
| AES | Advanced Encryption Standard New Instructions (AES-NI) | Yes
| AMX | Advanced Matrix Extensions | Yes
| AMX-COMPLEX | AMX-COMPLEX Instruction | No
| AMX-FP16 | AMX-FP16 Instruction | No
| AVX-IFMA | AVX-IFMA Instruction | No
| AVX-NE-CONVERT | AVX-NE-CONVERT Instruction | No
| AVX-VNNI-INT8 | AVX-VNNI-INT8 Instruction | No
| AVX512F | AVX-512 Foundation | Yes
| AVX512_BF16 | Vector Neural Network Instructions - BF16 | Yes
| AVX512_FP16 | Advanced Vector Extensions 512 - FP16 | Yes
| AVX512_VNNI | Vector Neural Network Instructions | Yes
| CLDEMOTE | Cache Line Demote | Yes
| CMPCCXADD | Compare and Add if Condition is Met | No
| ENQCMD | Enqueue Command Instruction | Yes
| MOVDIRI | Move Doubleword as Direct Store | Yes
| MOVDIR64B | Move 64 Bytes as Direct Store | Yes
| PREFETCHIT0/1 | PREFETCHIT0/1 Instruction | No
| SERIALIZE | SERIALIZE Instruction | Yes
| SHA_NI | SHA1/SHA256 Instruction Extensions | Yes
| TSXLDTRK | Transactional Synchronization Extensions | Yes
| VAES | Vector AES | Yes
| WAITPKG | UMONITOR, UMWAIT, TPAUSE Instructions | Yes
Accelerator | Name | Count | Work Queues | Full Name | Description
| DLB | 0 | N/A | Intel Dynamic Load Balancer | hardware managed system of queues and arbiters connecting producers and consumers
| DSA | 2 | None | Intel Data Streaming Accelerator | a high-performance data copy and transformation accelerator
| IAA | 0 | None | Intel Analytics Accelerator | accelerates compression and decompression for big data applications and in-memory analytic databases
| QAT (on CPU) | 0 | N/A | Intel Quick Assist Technology | accelerates data encryption and compression for applications from networking to enterprise, cloud to storage, and content delivery to database
| QAT (on chipset) | 0 | N/A | Intel Quick Assist Technology | accelerates data encryption and compression for applications from networking to enterprise, cloud to storage, and content delivery to database
Power | TDP | 270 watts
| Power & Perf Policy | Normal Powersave (7)
| Frequency Governor | powersave
| Frequency Driver | intel_pstate
| Max C-State | 9
Uncore | CHA Count | 32
| Minimum Frequency | 0.8GHz
| Maximum Frequency | 2.4GHz
Memory | Installed Memory | 512GB (16x32GB DDR5 4800 MT/s [4400 MT/s])
| MemTotal | 528098508 kB
| MemFree | 41193096 kB
| MemAvailable | 280238164 kB
| Buffers | 1188840 kB
| Cached | 231880448 kB
| HugePages_Total | 0
| Hugepagesize | 2048 kB
| Transparent Huge Pages | madvise
| Automatic NUMA Balancing | Enabled
| Populated Memory Channels | 16
DIMM Population | Socket | Channel | Slot | Details
| 0 | 0 | 0 | 32 GB @4400 MT/s DDR5 Synchronous Registered (Buffered) Micron MTC20F2085S1RC48BA1
| 0 | 0 | 1 | No Module Installed
| 0 | 1 | 0 | 32 GB @4400 MT/s DDR5 Synchronous Registered (Buffered) Micron MTC20F2085S1RC48BA1
| 0 | 1 | 1 | No Module Installed
| 0 | 2 | 0 | 32 GB @4400 MT/s DDR5 Synchronous Registered (Buffered) Micron MTC20F2085S1RC48BA1
| 0 | 2 | 1 | No Module Installed
| 0 | 3 | 0 | 32 GB @4400 MT/s DDR5 Synchronous Registered (Buffered) Micron MTC20F2085S1RC48BA1
| 0 | 3 | 1 | No Module Installed
| 0 | 4 | 0 | 32 GB @4400 MT/s DDR5 Synchronous Registered (Buffered) Micron MTC20F2085S1RC48BA1
| 0 | 4 | 1 | No Module Installed
| 0 | 5 | 0 | 32 GB @4400 MT/s DDR5 Synchronous Registered (Buffered) Micron MTC20F2085S1RC48BA1
| 0 | 5 | 1 | No Module Installed
| 0 | 6 | 0 | 32 GB @4400 MT/s DDR5 Synchronous Registered (Buffered) Micron MTC20F2085S1RC48BA1
| 0 | 6 | 1 | No Module Installed
| 0 | 7 | 0 | 32 GB @4400 MT/s DDR5 Synchronous Registered (Buffered) Micron MTC20F2085S1RC48BA1
| 0 | 7 | 1 | No Module Installed
| 1 | 0 | 0 | 32 GB @4400 MT/s DDR5 Synchronous Registered (Buffered) Micron MTC20F2085S1RC48BA1
| 1 | 0 | 1 | No Module Installed
| 1 | 1 | 0 | 32 GB @4400 MT/s DDR5 Synchronous Registered (Buffered) Micron MTC20F2085S1RC48BA1
| 1 | 1 | 1 | No Module Installed
| 1 | 2 | 0 | 32 GB @4400 MT/s DDR5 Synchronous Registered (Buffered) Micron MTC20F2085S1RC48BA1
| 1 | 2 | 1 | No Module Installed
| 1 | 3 | 0 | 32 GB @4400 MT/s DDR5 Synchronous Registered (Buffered) Micron MTC20F2085S1RC48BA1
| 1 | 3 | 1 | No Module Installed
| 1 | 4 | 0 | 32 GB @4400 MT/s DDR5 Synchronous Registered (Buffered) Micron MTC20F2085S1RC48BA1
| 1 | 4 | 1 | No Module Installed
| 1 | 5 | 0 | 32 GB @4400 MT/s DDR5 Synchronous Registered (Buffered) Micron MTC20F2085S1RC48BA1
| 1 | 5 | 1 | No Module Installed
| 1 | 6 | 0 | 32 GB @4400 MT/s DDR5 Synchronous Registered (Buffered) Micron MTC20F2085S1RC48BA1
| 1 | 6 | 1 | No Module Installed
| 1 | 7 | 0 | 32 GB @4400 MT/s DDR5 Synchronous Registered (Buffered) Micron MTC20F2085S1RC48BA1
| 1 | 7 | 1 | No Module Installed
DIMM | Bank Locator | Locator | Manufacturer | Part | Serial | Size | Type | Detail | Speed | Rank | Configured Speed
| NODE 0 | CPU0_DIMM_A1 | Micron | MTC20F2085S1RC48BA1 | 364E5FC5 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4400 MT/s
| NODE 0 | CPU0_DIMM_A2 |  |  |  | No Module Installed | Unknown | Unknown Synchronous
| NODE 0 | CPU0_DIMM_B1 | Micron | MTC20F2085S1RC48BA1 | 364E394F | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4400 MT/s
| NODE 0 | CPU0_DIMM_B2 |  |  |  | No Module Installed | Unknown | Unknown Synchronous
| NODE 1 | CPU0_DIMM_C1 | Micron | MTC20F2085S1RC48BA1 | 364E61A3 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4400 MT/s
| NODE 1 | CPU0_DIMM_C2 |  |  |  | No Module Installed | Unknown | Unknown Synchronous
| NODE 1 | CPU0_DIMM_D1 | Micron | MTC20F2085S1RC48BA1 | 364E4802 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4400 MT/s
| NODE 1 | CPU0_DIMM_D2 |  |  |  | No Module Installed | Unknown | Unknown Synchronous
| NODE 2 | CPU0_DIMM_E1 | Micron | MTC20F2085S1RC48BA1 | 364E3F47 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4400 MT/s
| NODE 2 | CPU0_DIMM_E2 |  |  |  | No Module Installed | Unknown | Unknown Synchronous
| NODE 2 | CPU0_DIMM_F1 | Micron | MTC20F2085S1RC48BA1 | 364E3FFD | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4400 MT/s
| NODE 2 | CPU0_DIMM_F2 |  |  |  | No Module Installed | Unknown | Unknown Synchronous
| NODE 3 | CPU0_DIMM_G1 | Micron | MTC20F2085S1RC48BA1 | 364E3E10 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4400 MT/s
| NODE 3 | CPU0_DIMM_G2 |  |  |  | No Module Installed | Unknown | Unknown Synchronous
| NODE 3 | CPU0_DIMM_H1 | Micron | MTC20F2085S1RC48BA1 | 364E6235 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4400 MT/s
| NODE 3 | CPU0_DIMM_H2 |  |  |  | No Module Installed | Unknown | Unknown Synchronous
| NODE 4 | CPU1_DIMM_A1 | Micron | MTC20F2085S1RC48BA1 | 364E64BD | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4400 MT/s
| NODE 4 | CPU1_DIMM_A2 |  |  |  | No Module Installed | Unknown | Unknown Synchronous
| NODE 4 | CPU1_DIMM_B1 | Micron | MTC20F2085S1RC48BA1 | 364E3822 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4400 MT/s
| NODE 4 | CPU1_DIMM_B2 |  |  |  | No Module Installed | Unknown | Unknown Synchronous
| NODE 5 | CPU1_DIMM_C1 | Micron | MTC20F2085S1RC48BA1 | 364E6231 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4400 MT/s
| NODE 5 | CPU1_DIMM_C2 |  |  |  | No Module Installed | Unknown | Unknown Synchronous
| NODE 5 | CPU1_DIMM_D1 | Micron | MTC20F2085S1RC48BA1 | 364E3FFB | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4400 MT/s
| NODE 5 | CPU1_DIMM_D2 |  |  |  | No Module Installed | Unknown | Unknown Synchronous
| NODE 6 | CPU1_DIMM_E1 | Micron | MTC20F2085S1RC48BA1 | 364E377D | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4400 MT/s
| NODE 6 | CPU1_DIMM_E2 |  |  |  | No Module Installed | Unknown | Unknown Synchronous
| NODE 6 | CPU1_DIMM_F1 | Micron | MTC20F2085S1RC48BA1 | 364E61FD | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4400 MT/s
| NODE 6 | CPU1_DIMM_F2 |  |  |  | No Module Installed | Unknown | Unknown Synchronous
| NODE 7 | CPU1_DIMM_G1 | Micron | MTC20F2085S1RC48BA1 | 364E3CFB | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4400 MT/s
| NODE 7 | CPU1_DIMM_G2 |  |  |  | No Module Installed | Unknown | Unknown Synchronous
| NODE 7 | CPU1_DIMM_H1 | Micron | MTC20F2085S1RC48BA1 | 364E3A52 | 32 GB | DDR5 | Synchronous Registered (Buffered) | 4800 MT/s | 2 | 4400 MT/s
| NODE 7 | CPU1_DIMM_H2 |  |  |  | No Module Installed | Unknown | Unknown Synchronous
NIC | Name | Model | Speed | Link | Bus | Driver | Driver Version | Firmware Version | MAC Address | NUMA Node | IRQBalance
| ens259f0np0 | BCM57416 NetXtreme-E Dual-Media 10G RDMA Ethernet Controller | Unknown! | no | 0000:16:00.0 | bnxt_en | 6.5.0-28-generic | 214.4.91.1/pkg 216.0.333.11 | 14:23:f2:05:5c:ac | 0 | Enabled
| ens259f1np1 | BCM57416 NetXtreme-E Dual-Media 10G RDMA Ethernet Controller | 1000Mb/s | yes | 0000:16:00.1 | bnxt_en | 6.5.0-28-generic | 214.4.91.1/pkg 216.0.333.11 | 14:23:f2:05:5c:ad | 0 | Enabled
| ens802f0np0 | BCM57414 NetXtreme-E 10Gb/25Gb RDMA Ethernet Controller | Unknown! | no | 0000:b8:00.0 | bnxt_en | 6.5.0-28-generic | 226.0.145.0/pkg 226.1.107.1 | 5c:6f:69:9d:43:70 | 1 | Enabled
| ens802f1np1 | BCM57414 NetXtreme-E 10Gb/25Gb RDMA Ethernet Controller | Unknown! | no | 0000:b8:00.1 | bnxt_en | 6.5.0-28-generic | 226.0.145.0/pkg 226.1.107.1 | 5c:6f:69:9d:43:71 | 1 | Enabled
Network IRQ Mapping | Interface | CPU:IRQs CPU:IRQs ...
| ens259f0np0 | 0:225 2:220 4:230 7:241 9:245 10:227 11:246 12:222 14:233 17:236 20:216 22:229 24:235 27:237 28:238 30:219 66:240 68:244 69:226 71:221 73:231 75:232 76:242 78:247 80:223 81:217 82:228 85:234 86:243 90:224 92:218 94:239
| ens259f1np1 | 1:270 3:272 5:277 6:260 8:262 13:255 15:257 16:274 18:279 19:263 21:249 23:256 25:258 26:275 29:264 31:254 64:276 65:259 67:261 70:271 72:273 74:278 77:266 79:268 83:252 84:280 87:267 88:250 89:269 91:251 93:253 95:265
| ens802f0np0 | 33:292 35:296 41:287 43:293 45:297 51:289 53:294 55:298 59:303 61:291 62:312 63:295 97:305 98:300 99:309 101:283 103:286 106:281 107:306 108:301 109:310 111:284 113:288 116:282 117:307 118:302 119:311 121:285 123:290 125:304 126:299 127:308
| ens802f1np1 | 32:335 34:313 36:316 37:338 38:319 39:341 40:330 42:336 44:314 46:317 47:339 48:321 49:343 50:332 52:337 54:315 56:318 57:340 58:323 60:334 96:325 100:326 102:329 104:320 105:342 110:327 112:331 114:322 115:344 120:328 122:333 124:324
Disk | NAME | MODEL | SIZE | MOUNTPOINT | FSTYPE | RQ-SIZE | MIN-IO | FwRev
| nvme0n1 | Micron_7450_MTFDKBA960TFR | 894.3G |  |  | 1023 | 262144
| nvme0n1p1 |  | 868M | /boot/efi | vfat | 1023 | 262144
| nvme0n1p2 |  | 1.5G |  | ntfs | 1023 | 262144
| nvme0n1p3 |  | 16M |  |  | 1023 | 262144
| nvme0n1p4 |  | 891.9G |  | ntfs | 1023 | 262144
| nvme1n1 | SAMSUNG MZQL2960HCJR-00A07 | 894.3G |  |  | 1023 | 131072
| nvme1n1p1 |  | 16M |  |  | 1023 | 131072
| nvme1n1p2 |  | 513M |  | vfat | 1023 | 131072
| nvme1n1p3 |  | 893.7G | / | ext4 | 1023 | 131072
Filesystem | Filesystem | Size | Used | Avail | Use% | Mounted on | Mount Options
| tmpfs | 51G | 3.9M | 51G | 1% | /run | rw,nosuid,nodev,noexec,relatime,size=52809852k,mode=755,inode64
| /dev/nvme1n1p3 | 879G | 796G | 39G | 96% | / | rw,relatime,errors=remount-ro,stripe=32
| tmpfs | 252G | 49M | 252G | 1% | /dev/shm | rw,nosuid,nodev,inode64
| tmpfs | 5.0M | 0 | 5.0M | 0% | /run/lock | rw,nosuid,nodev,noexec,relatime,size=5120k,inode64
| efivarfs | 496K | 380K | 112K | 78% | /sys/firmware/efi/efivars | rw,nosuid,nodev,noexec,relatime
| /dev/nvme0n1p1 | 867M | 34M | 833M | 4% | /boot/efi | rw,relatime,fmask=0077,dmask=0077,codepage=437,iocharset=iso8859-1,shortname=mixed,errors=remount-ro
| tmpfs | 51G | 2.5M | 51G | 1% | /run/user/1000 | rw,nosuid,nodev,relatime,size=52809848k,nr_inodes=13202462,mode=700,uid=1000,gid=1000,inode64
GPU | Manufacturer | ASPEED
| Model | Unknown
| PCI ID | 1A03:2000
CXL Device | No data found.
Vulnerability | CVE-2017-5715 | OK (IBRS + IBPB are mitigating the vulnerability)
| CVE-2017-5753 | OK (Mitigation: usercopy/swapgs barriers and __user pointer sanitization)
| CVE-2017-5754 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2018-12126 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2018-12127 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2018-12130 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2018-12207 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2018-3615 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2018-3620 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2018-3639 | OK (Mitigation: Speculative Store Bypass disabled via prctl)
| CVE-2018-3640 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2018-3646 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2019-11091 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2019-11135 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2020-0543 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2022-40982 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2023-20569 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2023-20593 | OK (your CPU vendor reported your CPU model as not affected)
| CVE-2023-23583 | OK (Your microcode mitigates the vulnerability)
Process | PID | PPID | %CPU | %MEM | RSS | COMMAND
| 2978817 | 766306 | 34.8 | 5.8 | 30841400 | /home/qmed-intel/env/bin/python3 -m ipykernel_launcher -f /home/qmed-intel/.local/share/jupyter/runtime/kernel-634f7487-ecf3-4bae-8792-738ec600871b.json
| 3145379 | 766306 | 28.8 | 2.1 | 11430776 | /home/qmed-intel/env/bin/python -m ipykernel_launcher -f /home/qmed-intel/.local/share/jupyter/runtime/kernel-973d5005-9852-4152-9536-185be79cbaa0.json
| 2659677 | 766306 | 10.2 | 3.4 | 18296336 | /home/qmed-intel/env/bin/python3 -m ipykernel_launcher -f /home/qmed-intel/.local/share/jupyter/runtime/kernel-fc660e63-212b-43d2-9bc7-e50b5014bc80.json
| 828815 | 2130 | 2.7 | 3.6 | 19274400 | /home/qmed-intel/env/bin/python3 -m ipykernel_launcher -f /home/qmed-intel/.local/share/jupyter/runtime/kernel-243aa2a2-8c07-450f-a918-44b00e1d47f6.json
| 4128532 | 22023 | 1.7 | 0 | 68608 | /snap/firefox/4209/usr/lib/firefox/firefox -contentproc -childID 34005 -isForBrowser -prefsLen 31819 -prefMapSize 242405 -jsInitLen 234952 -parentBuildID 20240427193319 -greomni /snap/firefox/4209/usr/lib/firefox/omni.ja -appomni /snap/firefox/4209/usr/lib/firefox/browser/omni.ja -appDir /snap/firefox/4209/usr/lib/firefox/browser {adcdeed4-ea34-4cb9-a9a9-c636cc153d1c} 22023 true tab
| 381172 | 2067 | 1.7 | 0.1 | 535700 | /usr/bin/anydesk --backend
| 22023 | 2543 | 1.7 | 0.2 | 1311104 | /snap/firefox/4209/usr/lib/firefox/firefox
| 2543 | 2130 | 1.7 | 0.1 | 841424 | /usr/bin/gnome-shell
| 2920174 | 2543 | 1.6 | 0 | 181212 | /tmp/.mount_LM_StuTDkgsk/lm-studio
| 3922719 | 1 | 1.3 | 0 | 29320 | /usr/bin/containerd
| 2780858 | 1 | 1.3 | 0 | 312320 | /usr/local/bin/ollama serve
| 28694 | 2130 | 1.3 | 7.4 | 39374184 | /home/qmed-intel/env/bin/python3 -m ipykernel_launcher -f /home/qmed-intel/.local/share/jupyter/runtime/kernel-eba53eaa-7085-45c6-91c0-b9aee4996c51.json
| 2163 | 2161 | 1.1 | 0 | 356632 | /usr/lib/xorg/Xorg vt2 -displayfd 3 -auth /run/user/1000/gdm/Xauthority -nolisten tcp -background none -noreset -keeptty -novtswitch -verbose 3
| 2890898 | 22023 | 0.7 | 0 | 298460 | /snap/firefox/4209/usr/lib/firefox/firefox -contentproc -childID 29074 -isForBrowser -prefsLen 31819 -prefMapSize 242405 -jsInitLen 234952 -parentBuildID 20240427193319 -greomni /snap/firefox/4209/usr/lib/firefox/omni.ja -appomni /snap/firefox/4209/usr/lib/firefox/browser/omni.ja -appDir /snap/firefox/4209/usr/lib/firefox/browser {a826bef0-dbfc-4569-8e1a-17affe97770c} 22023 true tab
| 766106 | 22023 | 0.7 | 0.2 | 1080712 | /snap/firefox/4209/usr/lib/firefox/firefox -contentproc -childID 7840 -isForBrowser -prefsLen 31776 -prefMapSize 242405 -jsInitLen 234952 -parentBuildID 20240427193319 -greomni /snap/firefox/4209/usr/lib/firefox/omni.ja -appomni /snap/firefox/4209/usr/lib/firefox/browser/omni.ja -appDir /snap/firefox/4209/usr/lib/firefox/browser {c53a6c6d-e16c-4b3b-bd1d-c3e5dcd46bb8} 22023 true tab
| 766306 | 766292 | 0.6 | 0 | 143252 | /usr/bin/python3 /home/qmed-intel/.local/bin/jupyter-notebook
| 2140 | 2130 | 0.6 | 0 | 22528 | /usr/bin/pulseaudio --daemonize=no --log-target=journal
| 2780059 | 22023 | 0.5 | 0 | 230652 | /snap/firefox/4209/usr/lib/firefox/firefox -contentproc -childID 29064 -isForBrowser -prefsLen 31819 -prefMapSize 242405 -jsInitLen 234952 -parentBuildID 20240427193319 -greomni /snap/firefox/4209/usr/lib/firefox/omni.ja -appomni /snap/firefox/4209/usr/lib/firefox/browser/omni.ja -appDir /snap/firefox/4209/usr/lib/firefox/browser {a6da8246-f332-4aa5-b10f-695486e94460} 22023 true tab
| 2439648 | 2439632 | 0.5 | 0 | 294120 | /usr/lib/libreoffice/program/soffice.bin --calc file:///home/qmed-intel/Desktop/Notebook/ZiYu/test.xlsx
Sensor | Sensor | Reading | Status
| System Airflow | 68.20 CFM | ok
| PSU1 Out Current | 18 Amps | ok
| PSU2 Out Current | 18 Amps | ok
| Pwm 1 | 29.79 percent | ok
| Pwm 2 | 29.79 percent | ok
| Pwm 3 | 29.79 percent | ok
| Pwm 4 | 29.79 percent | ok
| Pwm 5 | 29.79 percent | ok
| Pwm 6 | 29.79 percent | ok
| Fan 1 | 6750 RPM | ok
| Fan 2 | 6750 RPM | ok
| Fan 3 | 6750 RPM | ok
| Fan 4 | 6750 RPM | ok
| Fan 5 | 6750 RPM | ok
| Fan 6 | 6750 RPM | ok
| PSU1 Fan Speed 1 | 8968 RPM | ok
| PSU2 Fan Speed 1 | 8968 RPM | ok
| CPU Power | 305.80 Watts | ok
| Memory Power | 23 Watts | ok
| PSU1 Input Power | 224.20 Watts | ok
| PSU1 Out Power | 212.40 Watts | ok
| PSU2 Input Power | 224.20 Watts | ok
| PSU2 Out Power | 212.40 Watts | ok
| Total Power | 464 Watts | ok
| Aggr1 Temp | 29 degrees C | ok
| Aggr2 Temp | -42 degrees C | ok
| BB BMC Temp | 36 degrees C | ok
| BB M2 Temp | 38 degrees C | ok
| BB OCP Temp | 35 degrees C | ok
| BB P0 VR Temp | 28 degrees C | ok
| BB P1 VR Temp | 30 degrees C | ok
| BB Riser 2 Temp | 33 degrees C | ok
| CPU0 VR Temp | 35 degrees C | ok
| CPU1 VR Temp | 37 degrees C | ok
| DTS CPU0 | -52 degrees C | ok
| DTS CPU1 | -49 degrees C | ok
| Die CPU0 | 38 degrees C | ok
| Die CPU1 | 41 degrees C | ok
| Exit Air Temp | 36 degrees C | ok
| Front Panel Temp | 25 degrees C | ok
| HSBP 1 Temp | 25 degrees C | ok
| Margin CPU0 | -44 degrees C | ok
| Margin CPU1 | -42 degrees C | ok
| NVMe Aggr 1 | 30 degrees C | ok
| P0 DIMM ABCD Mgn | -67 degrees C | ok
| P0 DIMM EFGH Mgn | -66 degrees C | ok
| P1 DIMM ABCD Mgn | -66 degrees C | ok
| P1 DIMM EFGH Mgn | -65 degrees C | ok
| PCH Temp | 38 degrees C | ok
| PSU1 Temperature | 27 degrees C | ok
| PSU2 Temperature | 29 degrees C | ok
| Riser 1 Temp | 34 degrees C | ok
| Riser 2 Temp | 35 degrees C | ok
| Riser 3 Temp | 32 degrees C | ok
| TCC CPU0 | 0 percent | ok
| TCC CPU1 | 0 percent | ok
| P1V8 PCH | 1.80 Volts | ok
| P3V3 | 3.32 Volts | ok
| P3VBAT | 3.08 Volts | ok
| P5V | 4.99 Volts | ok
| P12V AUX | 12.15 Volts | ok
| P12V PSU | 12.15 Volts | ok
| P105 PCH AUX | 1.05 Volts | ok
| PVCCD HV CPU0 | 1.15 Volts | ok
| PVCCD HV CPU1 | 1.16 Volts | ok
| PVCCFA EHV CPU0 | 1.80 Volts | ok
| PVCCFA EHV CPU1 | 1.81 Volts | ok
| PVCCINFAON CPU0 | 1.09 Volts | ok
| PVCCINFAON CPU1 | 1.09 Volts | ok
| PVCCIN CPU0 | 1.82 Volts | ok
| PVCCIN CPU1 | 1.82 Volts | ok
| PVNN PCH AUX | 0.90 Volts | ok
Chassis Status | Last Power Event | ac-failed
| Power Overload | false
| Main Power Fault | false
| Power Restore Policy | always-off
| Drive Fault | false
| Cooling/Fan Fault | false
| System Time | 06/25/24 10:56:44 +08
System Event Log | Date | Time | Sensor | Status | Event
| 04/16/24 | 02:41:26 +08 | Fan #0x10 | Lower Non-critical going high | Asserted
| 04/16/24 | 02:42:05 +08 | Temperature #0x30 | Lower Non-critical going low | Asserted
| 04/16/24 | 02:42:06 +08 | Temperature #0x30 | Lower Non-critical going high | Asserted
| 04/16/24 | 02:42:06 +08 | Temperature #0x30 | Lower Critical going low | Asserted
| 04/16/24 | 02:42:06 +08 | Temperature #0x30 | Lower Critical going high | Asserted
| 04/16/24 | 02:42:06 +08 | Temperature #0x30 | Lower Non-recoverable going low | Asserted
| 04/16/24 | 02:42:06 +08 | Temperature #0x30 | Lower Non-recoverable going high | Asserted
| 04/16/24 | 02:42:06 +08 | Temperature #0x30 | Upper Non-critical going low | Asserted
| 04/16/24 | 02:42:06 +08 | Temperature #0x30 | Upper Non-critical going high | Asserted
| 04/16/24 | 02:42:06 +08 | Temperature #0x30 | Upper Critical going low | Asserted
| 04/16/24 | 02:42:06 +08 | Temperature #0x30 | Upper Critical going high | Asserted
| 04/16/24 | 02:42:06 +08 | Temperature #0x30 | Upper Non-recoverable going low | Asserted
| 04/16/24 | 02:42:06 +08 | Temperature #0x30 | Upper Non-recoverable going high | Asserted
| 04/16/24 | 02:42:06 +08 | Temperature #0x30 |  | Asserted
| 04/16/24 | 02:42:06 +08 | Temperature #0x30 |  | Asserted
| 04/16/24 | 02:42:06 +08 | Temperature #0x30 |  | Asserted
| 04/16/24 | 02:42:06 +08 | Temperature #0x30 |  | Asserted
| 04/16/24 | 02:43:40 +08 | Fan #0x06 | Lower Critical going low | Asserted
| 04/17/24 | 11:23:52 +08 | Fan #0x06 | Lower Critical going low | Asserted
| 05/06/24 | 21:26:15 +08 | Fan #0x06 | Lower Critical going low | Asserted
Kernel Log | Entries
[ +0.000300] audit: type=1107 audit(1719283454.431:7275): pid=1950 uid=102 auid=4294967295 ses=4294967295 subj=unconfined msg='apparmor="DENIED" operation="dbus_method_call" bus="system" path="/org/freedesktop/hostname1" interface="org.freedesktop.DBus.Properties" member="GetAll" mask="send" name=":1.37301" pid=22023 label="snap.firefox.firefox" peer_pid=4123765 peer_label="unconfined"
exe="/usr/bin/dbus-daemon" sauid=102 hostname=? addr=? terminal=?'
[ +0.000247] audit: type=1107 audit(1719283454.431:7276): pid=1950 uid=102 auid=4294967295 ses=4294967295 subj=unconfined msg='apparmor="DENIED" operation="dbus_method_call" bus="system" path="/org/freedesktop/hostname1" interface="org.freedesktop.DBus.Properties" member="GetAll" mask="send" name=":1.37301" pid=22023 label="snap.firefox.firefox" peer_pid=4123765 peer_label="unconfined"
exe="/usr/bin/dbus-daemon" sauid=102 hostname=? addr=? terminal=?'
[ +0.000410] audit: type=1107 audit(1719283454.431:7277): pid=1950 uid=102 auid=4294967295 ses=4294967295 subj=unconfined msg='apparmor="DENIED" operation="dbus_method_call" bus="system" path="/org/freedesktop/hostname1" interface="org.freedesktop.DBus.Properties" member="GetAll" mask="send" name=":1.37301" pid=22023 label="snap.firefox.firefox" peer_pid=4123765 peer_label="unconfined"
exe="/usr/bin/dbus-daemon" sauid=102 hostname=? addr=? terminal=?'
[ +0.000165] audit: type=1107 audit(1719283454.431:7278): pid=1950 uid=102 auid=4294967295 ses=4294967295 subj=unconfined msg='apparmor="DENIED" operation="dbus_method_call" bus="system" path="/org/freedesktop/hostname1" interface="org.freedesktop.DBus.Properties" member="GetAll" mask="send" name=":1.37301" pid=22023 label="snap.firefox.firefox" peer_pid=4123765 peer_label="unconfined"
exe="/usr/bin/dbus-daemon" sauid=102 hostname=? addr=? terminal=?'
[ +0.000355] audit: type=1107 audit(1719283454.431:7279): pid=1950 uid=102 auid=4294967295 ses=4294967295 subj=unconfined msg='apparmor="DENIED" operation="dbus_method_call" bus="system" path="/org/freedesktop/hostname1" interface="org.freedesktop.DBus.Properties" member="GetAll" mask="send" name=":1.37301" pid=22023 label="snap.firefox.firefox" peer_pid=4123765 peer_label="unconfined"
exe="/usr/bin/dbus-daemon" sauid=102 hostname=? addr=? terminal=?'
[ +6.387720] kauditd_printk_skb: 22 callbacks suppressed
[ +0.000009] audit: type=1107 audit(1719283460.819:7302): pid=1950 uid=102 auid=4294967295 ses=4294967295 subj=unconfined msg='apparmor="DENIED" operation="dbus_signal" bus="system" path="/org/freedesktop/login1" interface="org.freedesktop.DBus.Properties" member="PropertiesChanged" name=":1.16" mask="receive" pid=22023 label="snap.firefox.firefox" peer_pid=1983 peer_label="unconfined"
exe="/usr/bin/dbus-daemon" sauid=102 hostname=? addr=? terminal=?'
[Jun25 10:48] audit: type=1107 audit(1719283765.180:7303): pid=1950 uid=102 auid=4294967295 ses=4294967295 subj=unconfined msg='apparmor="DENIED" operation="dbus_signal" bus="system" path="/org/freedesktop/login1" interface="org.freedesktop.DBus.Properties" member="PropertiesChanged" name=":1.16" mask="receive" pid=22023 label="snap.firefox.firefox" peer_pid=1983 peer_label="unconfined"
exe="/usr/bin/dbus-daemon" sauid=102 hostname=? addr=? terminal=?'
[Jun25 10:53] audit: type=1400 audit(1719284013.301:7304): apparmor="DENIED" operation="open" class="file" profile="snap.firefox.firefox" name="/home/qmed-intel/.wget-hsts" pid=22023 comm="pool-firefox" requested_mask="r" denied_mask="r" fsuid=1000 ouid=1000
[ +0.000508] audit: type=1400 audit(1719284013.305:7305): apparmor="DENIED" operation="open" class="file" profile="snap.firefox.firefox" name="/home/qmed-intel/.wget-hsts" pid=22023 comm="pool-firefox" requested_mask="r" denied_mask="r" fsuid=1000 ouid=1000
[ +0.000018] audit: type=1400 audit(1719284013.305:7306): apparmor="DENIED" operation="open" class="file" profile="snap.firefox.firefox" name="/home/qmed-intel/.wget-hsts" pid=22023 comm="pool-firefox" requested_mask="r" denied_mask="r" fsuid=1000 ouid=1000
[Jun25 10:56] msr: Write to unrecognized MSR 0xb0 by msrwrite (pid: 4128833).
[ +0.000007] msr: See https://git.kernel.org/pub/scm/linux/kernel/git/tip/tip.git/about for details.
PMU | cpu_cycles | Active
| instructions | Inactive
| ref_cycles | Inactive
| topdown_slots | Inactive
| gen_programmable_1 | Inactive
| gen_programmable_2 | Inactive
| gen_programmable_3 | Inactive
| gen_programmable_4 | Inactive
| gen_programmable_5 | Inactive
| gen_programmable_6 | Inactive
| gen_programmable_7 | Inactive
| gen_programmable_8 | Inactive
svr-info | version | 2.10.0_2024-05-03_6e725730

## Brief
Name | qmed
Time | Selasa 25 Jun 2024 02:56:45 UTC
System | Intel Corporation M50FCP2SBSTD
Baseboard | Intel Corporation M50FCP2SBSTD
Chassis | ............................... Rack Mount Chassis
CPU Model | Intel(R) Xeon(R) Gold 6430L
Microarchitecture | SPR_XCC
Sockets | 2
Cores per Socket | 32
Hyperthreading | Enabled
CPUs | 128
Intel Turbo Boost | Enabled
Base Frequency | 1.9GHz
All-core Maximum Frequency | 2.6GHz
Maximum Frequency | 3.4GHz
NUMA Nodes | 2
Prefetchers | L2 HW: Enabled, L2 Adj.: Enabled, DCU HW: Enabled, DCU IP: Enabled, AMP: Disabled, Homeless: Disabled, LLC: Disabled
PPINs
Accelerators Available [used] | DLB 0 [0], DSA 2 [0], IAA 0 [0], QAT 0 [0]
Installed Memory | 512GB (16x32GB DDR5 4800 MT/s [4400 MT/s])
Hugepagesize | 2048 kB
Transparent Huge Pages | madvise
Automatic NUMA Balancing | Enabled
NIC | 2x BCM57416 NetXtreme-E Dual-Media 10G RDMA Ethernet Controller, 2x BCM57414 NetXtreme-E 10Gb/25Gb RDMA Ethernet Controller
Disk | 1x 894.3G Micron_7450_MTFDKBA960TFR, 1x 894.3G SAMSUNG MZQL2960HCJR-00A07
BIOS | SE5C741.86B.01.01.0004.2303280404
Microcode | 0x2b0004d0
OS | Ubuntu 22.04.4 LTS
Kernel | 6.5.0-28-generic
TDP | 270 watts
Power & Perf Policy | Normal Powersave (7)
Frequency Governor | powersave
Frequency Driver | intel_pstate
Max C-State | 9
Vulnerability | CVE-2017-5715:OK, CVE-2017-5753:OK, CVE-2017-5754:OK, CVE-2018-12126:OK, CVE-2018-12127:OK, CVE-2018-12130:OK, CVE-2018-12207:OK, CVE-2018-3615:OK, CVE-2018-3620:OK, CVE-2018-3639:OK, CVE-2018-3640:OK, CVE-2018-3646:OK, CVE-2019-11091:OK, CVE-2019-11135:OK, CVE-2020-0543:OK, CVE-2022-40982:OK, CVE-2023-20569:OK, CVE-2023-20593:OK, CVE-2023-23583:OK
System Summary | 1-node, 2x Intel(R) Xeon(R) Gold 6430L, 32 cores, HT On, Turbo On, NUMA 2, Integrated Accelerators Available [used]: DLB 0 [0], DSA 2 [0], IAA 0 [0], QAT 0 [0], Total Memory 512GB (16x32GB DDR5 4800 MT/s [4400 MT/s]), BIOS SE5C741.86B.01.01.0004.2303280404, microcode 0x2b0004d0, 2x BCM57416 NetXtreme-E Dual-Media 10G RDMA Ethernet Controller, 2x BCM57414 NetXtreme-E 10Gb/25Gb RDMA Ethernet Controller, 1x 894.3G Micron_7450_MTFDKBA960TFR, 1x 894.3G SAMSUNG MZQL2960HCJR-00A07, Ubuntu 22.04.4 LTS, 6.5.0-28-generic. Software: WORKLOAD+VERSION, COMPILER, LIBRARIES, OTHER_SW. Test by Intel as of 06/25/24.

## Benchmark
Summary | No data found.
Core Frequency | Core Count | Spec non-AVX Frequency (GHz) | Measured non-AVX Frequency (GHz) | Measured avx128 Frequency (GHz) | Measured avx256 Frequency (GHz) | Measured avx512 Frequency (GHz)
| 1 | 3.4
| 2 | 3.4
| 3 | 3.4
| 4 | 3.4
| 5 | 3.4
| 6 | 3.4
| 7 | 3.4
| 8 | 3.4
| 9 | 3.4
| 10 | 3.4
| 11 | 3.4
| 12 | 3.4
| 13 | 3.4
| 14 | 3.4
| 15 | 3.4
| 16 | 3.4
| 17 | 3.1
| 18 | 3.1
| 19 | 3.1
| 20 | 3.1
| 21 | 3
| 22 | 3
| 23 | 2.8
| 24 | 2.8
| 25 | 2.8
| 26 | 2.8
| 27 | 2.7
| 28 | 2.7
| 29 | 2.6
| 30 | 2.6
| 31 | 2.6
| 32 | 2.6
Memory Bandwidth and Latency | No data found.
Memory NUMA Bandwidth | No data found.

## Profile
Summary | No data found.
Average CPU Utilization | No data found.
CPU Utilization | No data found.
Power Stats | No data found.
IRQ Rate | No data found.
Drive Stats | No data found.
Network Stats | No data found.
Memory Stats | No data found.
PMU Metrics | No data found.

## Analyze
Code Path Frequency | No data found.

## Insights
Insight | Recommendation | Justification
| Consider reviewing the System Event Log table located on the Configuration page. | Detected '16' temperature-related service action(s) in the System Event Log.
| Consider setting the CPU frequency governors to 'performance'. | CPU frequency governors are set to 'powersave'.
| Consider configuring DSA to allow accelerated data copy and transformation in DSA-enabled software. | No work queues are configured for DSA accelerator(s).
| Consider setting the Power and Performance policy to 'Performance'. | Power and Performance policy is set to 'Normal Powersave (7)'.
| Consider configuring DIMMs for their maximum supported speed. | DRAM DIMMs are configured at less than their maximum supported speed.